## Slide 1: Cantilever retaining wall SESSION 2011
M. Azhar Saleem, PhD
April 2015

## Slide 2: Retaining wall
A retaining wall is any constructed wall that restrains soil or other material at locations having an abrupt change in elevation.
Retaining wall has many uses such as:
  A retaining wall for roadside embankments
  A retaining wall can separate older roads from highways
  A retaining wall helps keep river banks from eroding

## Slide 3: Examples Retaining Walls

## Slide 4: Types Retaining wall
Gravity wall-Masonry or Plain concrete
Cantilever retaining wall-RCC
(Inverted T and L)
Counterfort retaining wall-RCC
Buttress wall-RCC

## Slide 5: Types of Retaining wall
Counterfort
Gravity RW
T-Shaped RW
L-Shaped RW
Backfill
Backfill
Counterfort RW
Buttress
Backfill
Buttress RW

## Slide 6: Retaining wall terminology

## Slide 7: Failure Modes of Cantilever Retaining Walls

## Slide 8: Examples Failure

## Slide 9: Earth Pressure
Earth pressure is the pressure exerted by the retaining material on the retaining wall. This pressure tends to deflect the wall outward.
Types of earth pressure :
Active earth pressure or earth pressure (Pa) and
Passive earth pressure (Pp).
Active earth pressure tends to deflect the wall away from the backfill.
Pa
GL
Variation of Earth pressure

## Slide 10: Factors Affecting Earth Pressure
Earth pressure depends on type of backfill, the height of wall and the soil conditions
Soil conditions: The different soil conditions are
Dry levelled back fill
Moist levelled backfill
Submerged levelled backfill
Levelled backfill with uniform surcharge
Backfill with sloping surface

## Slide 11: Analysis for dry backfills
Maximum pressure at any height, p=Caγh
Total pressure at any height from top, pa=1/2[Ca γh]h = [Ca γh2]/2
Bending moment at any height
M=paxh/3= [Ca γh3]/6
Total pressure, Pa= [Ca γH2]/2
Total Bending moment at bottom,
M = [Ca γH3]/6
pa
H
h
Ca γ H
M

## Slide 12: Analysis for dry backfills
Where,
Ca= Coefficient of active earth pressure
= (1-sinΦ)/(1+sin Φ)=tan2 Φ
= 1/Cp, coefficient of passive earth pressure
Φ = Angle of internal friction or angle of repose
γ =Unit weigh or density of backfill
If Φ = 30o, Ca=1/3 and Cp=3. Thus Ca is 9 times Cp

## Slide 13: Coefficient of active earth pressure
 = 0


## Slide 14: Concluded